{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["表-08_分部分项工程和单价措施项目清单与计价表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":0,"n_rows":655,"n_cols":8,"rows_kept":655,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[38,0,38,7],[39,0,39,5],[39,6,39,7],[40,0,42,0],[40,1,42,1],[40,2,42,2],[40,3,42,3],[40,4,42,4],[40,5,40,7],[41,5,42,5],[41,6,42,6],[77,0,77,7],[78,0,78,5],[78,6,78,7],[79,0,81,0],[79,1,81,1],[79,2,81,2],[79,3,81,3],[79,4,81,4],[79,5,79,7],[80,5,81,5],[80,6,81,6],[116,0,116,7],[117,0,117,5],[117,6,117,7],[118,0,120,0],[118,1,120,1],[118,2,120,2],[118,3,120,3],[118,4,120,4],[118,5,118,7],[119,5,120,5],[119,6,120,6],[155,0,155,7],[156,0,156,5],[156,6,156,7],[157,0,159,0],[157,1,159,1],[157,2,159,2],[157,3,159,3],[157,4,159,4],[157,5,157,7],[158,5,159,5],[158,6,159,6],[194,0,194,7],[195,0,195,5],[195,6,195,7],[196,0,198,0],[196,1,198,1],[196,2,198,2],[196,3,198,3],[196,4,198,4],[196,5,196,7],[197,5,198,5],[197,6,198,6],[234,0,234,7],[235,0,235,5],[235,6,235,7],[236,0,238,0],[236,1,238,1],[236,2,238,2],[236,3,238,3],[236,4,238,4],[236,5,236,7],[237,5,238,5],[237,6,238,6],[276,0,276,7],[277,0,277,5],[277,6,277,7],[278,0,280,0],[278,1,280,1],[278,2,280,2],[278,3,280,3],[278,4,280,4],[278,5,278,7],[279,5,280,5],[279,6,280,6],[318,0,318,7],[319,0,319,5],[319,6,319,7],[320,0,322,0],[320,1,322,1],[320,2,322,2],[320,3,322,3],[320,4,322,4],[320,5,320,7],[321,5,322,5],[321,6,322,6],[360,0,360,7],[361,0,361,5],[361,6,361,7],[362,0,364,0],[362,1,364,1],[362,2,364,2],[362,3,364,3],[362,4,364,4],[362,5,362,7],[363,5,364,5],[363,6,364,6],[402,0,402,7],[403,0,403,5],[403,6,403,7],[404,0,406,0],[404,1,406,1],[404,2,406,2],[404,3,406,3],[404,4,406,4],[404,5,404,7],[405,5,406,5],[405,6,406,6],[443,0,443,7],[444,0,444,5],[444,6,444,7],[445,0,447,0],[445,1,447,1],[445,2,447,2],[445,3,447,3],[445,4,447,4],[445,5,445,7],[446,5,447,5],[446,6,447,6],[485,0,485,7],[486,0,486,5],[486,6,486,7],[487,0,489,0],[487,1,489,1],[487,2,489,2],[487,3,489,3],[487,4,489,4],[487,5,487,7],[488,5,489,5],[488,6,489,6],[528,0,528,7],[529,0,529,5],[529,6,529,7],[530,0,532,0],[530,1,532,1],[530,2,532,2],[530,3,532,3],[530,4,532,4],[530,5,530,7],[531,5,532,5],[531,6,532,6],[571,0,571,7],[572,0,572,5],[572,6,572,7],[573,0,575,0],[573,1,575,1],[573,2,575,2],[573,3,575,3],[573,4,575,4],[573,5,573,7],[574,5,575,5],[574,6,575,6],[613,0,613,7],[614,0,614,5],[614,6,614,7],[615,0,617,0],[615,1,617,1],[615,2,617,2],[615,3,617,3],[615,4,617,4],[615,5,615,7],[616,5,617,5],[616,6,617,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第1页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"“三全育人”水利书院-装修装修"]
[null,null,"分部分项工程"]
[null,null,"一、易班中心"]
["1","011209001001","隔墙","㎡","30.00"]
[null,null,"阻燃材料,双面单层（轻钢龙骨双面封单层埃特板）"]
["2","011201001001","新隔墙面刮白","㎡","60.00"]
[null,null,"布条填缝剂修补板缝、钉眼；乳胶漆二遍、刮腻子粉三遍"]
["3","010810001001","窗帘","m","9.00"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)；"]
[null,null,"2、混纺加厚布、五金配件；"]
[null,null,"3、窗帘数量按1.5倍计："]
[null,null,"二、心理辅导站"]
["4","011209001002","隔墙","㎡","30.00"]
[null,null,"阻燃材料,双面单层（轻钢龙骨双面封单层埃特板）"]
["5","011201001002","新隔墙面刮白","㎡","60.00"]
[null,null,"布条填缝剂修补板缝、钉眼；乳胶漆二遍、刮腻子粉三遍"]
["6","011210003001","玻璃隔断","㎡","21.00"]
[null,null,"1、1.2㎜厚，50*80铝合金边框；2、5㎜钢化磨砂玻璃；"]
["7","011201001003","局部墙翻新处理","㎡","6.00"]
[null,null,"局部修补;铲除旧墙腻子，乳胶漆二遍、新刮两遍腻子"]
["8","010810001002","窗帘","m","9.00"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)；"]
[null,null,"2、混纺加厚布、五金配件；"]
[null,null,"3、窗帘数量按1.5倍计"]
[null,null,"三、心理辅导站"]
["9","011201001004","局部墙翻新处理","㎡","6.00"]
[null,null,"局部修补;铲除旧墙腻子，新刮两遍腻子"]
["10","010810001003","窗帘","m","9.00"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)；2、混纺加厚布、五金配件；3、窗帘数量按1.5倍计："]
[null,null,"四、水利科技协会"]
["11","011201001005","局部墙翻新处理","㎡","6.00"]
[null,null,"局部修补;铲除旧墙腻子，新刮两遍腻子"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第2页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["12","010810001004","窗帘","m","9.00"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)；"]
[null,null,"2、混纺加厚布、五金配件；"]
[null,null,"3、窗帘数量按1.5倍计"]
[null,null,"五、团学活动中心"]
["13","011201001006","局部墙翻新处理","㎡","41.00"]
[null,null,"局部修补;铲除旧墙腻子，乳胶漆二遍、新刮两遍腻子"]
["14","011407001001","墙面喷（刷）涂料","㎡","12.00"]
[null,null,"外墙涂料，一间办公室，0.5米高"]
["15","010810001005","窗帘","m","9.00"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)；"]
[null,null,"2、混纺加厚布、五金配件；"]
[null,null,"3、窗帘数量按1.5倍计"]
[null,null,"六、团学活动隔壁同户型办公室"]
["16","011201001007","局部墙翻新处理","㎡","20.00"]
[null,null,"局部修补;铲除旧墙腻子，乳胶漆二遍、新刮两遍腻子"]
["17","011407001002","墙面喷（刷）涂料","㎡","24.00"]
[null,null,"外墙涂料，一间办公室，0.5米高"]
["18","010810001006","窗帘","m","9.00"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)；"]
[null,null,"2、混纺加厚布、五金配件；"]
[null,null,"3、窗帘数量按1.5倍计"]
[null,null,"七、素质团队工作中心"]
["19","FA110500100001","水泥砂浆踢脚线","㎡","2.00"]
["20","011201001008","局部墙翻新处理","㎡","12.00"]
[null,null,"局部修补;铲除旧墙腻子，乳胶漆二遍、新刮两遍腻子"]
["21","010810001007","窗帘","㎡","37.80"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)；"]
[null,null,"2、混纺加厚布、五金配件；"]
[null,null,"3、窗帘数量按1.5倍计"]
[null,null,"八、学生水文化提升书屋"]
["22","010810001008","窗帘","m","9.00"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)；"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第3页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"2、混纺加厚布、五金配件；"]
[null,null,"3、窗帘数量按1.5倍计"]
[null,null,"九、文化走廊（一楼前后门楼梯间、过道）"]
["23","010802001001","地弹门（后门过道）","樘","1"]
[null,null,"1、1.2㎜厚钢化玻璃；"]
[null,null,"2、规格：1800*2100双开门；"]
[null,null,"3、地弹、门夹、不锈钢拉手等五金配件。"]
["24","010808007001","地弹门门套","m","6.40"]
[null,null,"1、30*40木龙骨架、18㎜基层面饰1.2㎜不锈钢；"]
[null,null,"2、规格：80*200*80"]
["25","010802003001","乙级木质防火门","㎡","14.70"]
[null,null,"1、乙级防火门，带门框"]
[null,null,"2、规格：1750*2100"]
[null,null,"3、含五金配件、运输及安装"]
["26","桂010811002001","防火门边修补","m","24.80"]
[null,null,"拆除后门框边水泥砂浆修补；腻子修补"]
["27","010802003002","丙级木质防火门","㎡","3.15"]
[null,null,"1、丙级防火门，带门框；"]
[null,null,"2、规格：750*2100"]
[null,null,"3、含五金配件、运输及安装"]
["28","FA080100600001","门锁","把","2"]
[null,null,"电井门拆除旧门锁，更换室内普通（带钥匙）"]
["29","011201001009","楼梯间局部墙翻新处理","㎡","60.00"]
[null,null,"局部修补;铲除旧墙腻子，乳胶漆二遍、新刮两遍腻子"]
["30","010810001009","窗帘","m","9.00"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)"]
[null,null,"2、混纺加厚布、五金配件"]
[null,null,"3、窗帘数量按1.5倍计"]
[null,null,"二楼楼道文化走廊（走廊部分）"]
["31","031103007001","吊顶","m","9.30"]
[null,null,"φ8㎜螺纹吊杆；轻钢龙骨石膏板吊顶；12㎜大芯板做灯槽，"]
["32","010808007002","走廊入口过道门套","m","6.40"]
[null,null,"1、30*40木龙骨架、18㎜基层面饰9㎜免漆板；2、规格：80*200*80"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第4页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["33","011210004001","卫生间玄关挡板","㎡","12.48"]
[null,null,"1、80*80不锈钢立柱；2、木纹色抗倍特板隔断。"]
["34","B000000001001","走廊封窗口（双面）",null,"64.8"]
[null,null,"阻燃材料,正面封埃特板，背面封6㎜PVC板（75型轻钢龙骨架）"]
["35","011201001010","新隔墙面刮白","㎡","64.80"]
[null,null,"布条填缝剂修补板缝、钉眼；乳胶漆二遍、刮腻子粉三遍"]
["36","011407002001","顶面喷灰黑色漆","㎡","435.00"]
[null,null,"调色乳胶漆喷（涂）2遍"]
[null,null,"十一、学生职业素质拓展中心"]
["37","011207001001","墙裙","㎡","32.22"]
[null,null,"竹木纤维护墙板（900㎜高）"]
["38","011502007001","腰线","m","35.00"]
[null,null,"PVC饰木纹"]
["39","011502007002","脚线","m"]
[null,null,"PVC饰木纹"]
["40","011404005001","吸音墙面","㎡","88.30"]
[null,null,"1、9㎜聚酯纤维吸音板倒槽拼贴；"]
[null,null,"2、木龙骨打底"]
["41","011201001011","新隔墙面刮白","㎡","60.00"]
[null,null,"布条填缝剂修补板缝、钉眼；乳胶漆二遍、刮腻子粉三遍"]
["42","B003","垫高舞台基础","㎡","14.53"]
[null,null,"长宽高5590cmx2600cmx22cm,190轻质砖垫底，水泥砂浆过面，"]
["43","020512001001","垫高舞台面层","㎡","16.80"]
[null,null,"1、1.2㎜环保铺复合木地板，铝合金包角封边"]
["44","011201001012","局部墙翻新处理","㎡","20.00"]
[null,null,"局部修补;铲除旧墙腻子，乳胶漆二遍、新刮两遍腻子"]
["45","010810001010","窗帘","m","16.20"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)"]
[null,null,"2、混纺加厚布、五金配件"]
[null,null,"3、窗帘数量按1.5倍计"]
[null,null,"十三、学生素养训练间"]
["46","011103001001","PVC塑胶地面（5㎜）","㎡","130.00"]
["47","011505010001","落地舞蹈镜及安装","㎡","18.96"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第5页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"12㎜夹板打底，2.4米高"]
[null,null,"5㎜镜安装，宽8000*高2400"]
["48","B004","专业舞蹈把杆","m","10.00"]
[null,null,"1、钢柱、实木杆；2、落地固定式升降杆"]
["49","011201001013","局部墙翻新处理","㎡","6.00"]
[null,null,"局部修补;铲除旧墙腻子，乳胶漆二遍、新刮两遍腻子"]
["50","010810001011","窗帘","m","20.82"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)"]
[null,null,"2、混纺加厚布、五金配件"]
[null,null,"3、窗帘数量按1.5倍计"]
[null,null,"十四、3D室改造"]
["51","010401012","封门洞","","0.52"]
[null,null,"红砖砌筑"]
["52","011108004001","水泥砂浆零星项目","㎡","5.60"]
[null,null,"水泥砂浆抹灰"]
["53","B006","隔墙","㎡","7.02"]
[null,null,"阻燃材料,双面单层（75型轻钢龙骨双面封单层6㎜埃特板）带简易门（2樘）.部位：3D屏幕两旁。"]
["54","B007","封窗洞","㎡","5.40"]
[null,null,"阻燃材料,双面单层（75型轻钢龙骨双面封单层6㎜埃特板）"]
["55","011201001014","新隔墙面刮白","㎡","25.04"]
[null,null,"布条填缝剂修补板缝、钉眼；乳胶漆二遍、刮腻子粉三遍"]
["56","010401012001","座位区垫高","","19.55"]
[null,null,"加气砖满铺"]
["57","011203003001","座位区垫高零星项目砂浆找平","㎡","60.00"]
["58","011102003001","座位区铺砖","㎡","65.00"]
[null,null,"1、800*800抛光砖；2、3:1水泥砂浆层4㎝厚。"]
["59","011105003001","块料踢脚线","㎡","3.60"]
[null,null,"1、800*800抛光砖1开6；2、325＃纯水泥铺贴。"]
["60","020202003001","栏杆（304不锈钢材质）","m","1.65"]
["61","010804002001","钢木大门","樘","1"]
[null,null,"1、双开钢木室内门（1250*2150）"]
["62","010805007001","复合木门","樘","2"]
[null,null,"复合木门"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第6页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["63","011201001015","局部墙翻新处理","㎡","6.00"]
[null,null,"局部修补;铲除旧墙腻子，新刮两遍腻子"]
["64","010810001012","窗帘","m","9.00"]
[null,null,"1、外围高窗面窗（尺寸3000长*2800高*2幅)；"]
[null,null,"2、混纺加厚布、五金配件；"]
[null,null,"3、窗帘数量按1.5倍计"]
["65","B008","凳子安装","位","60"]
[null,null,"膨胀螺钉紧固安装"]
[null,null,"十五、后院改造"]
["66","011102003002","地砖","㎡","666.08"]
[null,null,"1、800*800抛光砖"]
[null,null,"2、3:1水泥砂浆层4㎝厚"]
["67","011210002001","隔墙","㎡","374.60"]
[null,null,"1、50㎜*50㎜热镀锌方通框架，支撑杆；"]
[null,null,"2、双面326型夹75厚泡沫板彩钢板；"]
["68","010807001001","铝合金窗","㎡","55.00"]
[null,null,"1、1.2厘铝材，5厘钢化玻璃；"]
[null,null,"2、规格：1500*1650"]
["69","011210003002","玻璃隔墙（固定玻璃）","㎡","197.28"]
[null,null,"1、1.2㎜厚钢化玻璃；2、间隔900宽加力筋玻璃；3、顶、地面、侧面加焊60*40*60不锈钢框边固定。"]
["70","010802001002","玻璃地弹门（双开门)","樘","7"]
[null,null,"1、1.2㎜厚钢化玻璃；2、规格：1800*2200双开门；3、地弹、门夹、不锈钢拉手等五金配件。"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
["71","桂011701003001","室内装修脚手架","㎡","2660.00"]
["72","B001","垃圾清运费","项","1"]
[null,null,"1、拆除及所有装修垃圾的清理"]
["73","B002","保洁","㎡","2660.00"]
[null,null,"1、完工后专业保洁。"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第7页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"“三全育人”水利书院-水电安装"]
[null,null,"分部分项工程"]
[null,null,"一、易班中心"]
["74","030412004001","长型吊灯盘","套"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
["75","030411004001","超六类屏蔽网络线","m","18.00"]
["76","030411004002","4㎜2 BV铜芯线","m","31.60"]
["77","030411004003","2.5㎜2 BV铜芯线","m","81.30"]
["78","030411002001","线槽","m","31.60"]
[null,null,"明装24线槽布置"]
["79","030404035001","明装网络插座","套","2"]
["80","030404035002","明装10A普通五孔插座","套","4"]
["81","030404035003","40A带漏电保护柜机插座","套","1"]
[null,null,"40A带漏电保护柜机插座"]
["82","030404017001","明装配电箱","台","1"]
[null,null,"60A空开1个，20A空开2个"]
[null,null,"二、心理辅导站"]
["83","030412004001","长型吊灯盘","套"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
["84","030411004001","超六类屏蔽网络线","m","12.00"]
[null,null,"超六类屏蔽网络线"]
["85","030411004002","4㎜2 BV铜芯线","m","48.60"]
[null,null,"4㎜2 BV铜芯线"]
["86","030411004003","2.5㎜2 BV铜芯线","m","166.00"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第8页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"2.5㎜2 BV铜芯线"]
["87","030411002001","线槽","m","53.40"]
[null,null,"明装24线槽布置"]
["88","030404035001","明装网络插座","套","2"]
["89","030404035002","明装10A普通五孔插座","套","10"]
[null,null,"明装10A普通五孔插座"]
["90","030404035003","40A带漏电保护柜机插座","套","1"]
[null,null,"40A带漏电保护柜机插座"]
["91","030404017001","明装配电箱","台","1"]
[null,null,"60A空开1个，20A空开2个"]
[null,null,"三、创新创业中心"]
["92","030412004001","长型吊灯盘","套"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
["93","030411004001","超六类屏蔽网络线","m","18.00"]
[null,null,"超六类屏蔽网络线"]
["94","030411004002","4㎜2 BV铜芯线","m","43.90"]
[null,null,"4㎜2 BV铜芯线"]
["95","030411004003","2.5㎜2 BV铜芯线","m","143.00"]
[null,null,"2.5㎜2 BV铜芯线"]
["96","030411002001","线槽","m","53.40"]
[null,null,"明装24线槽布置"]
["97","030404035001","明装网络插座","套","2"]
["98","030404035002","明装10A普通五孔插座","套","5"]
[null,null,"明装10A普通五孔插座"]
["99","030404035003","40A带漏电保护柜机插座","套","2"]
[null,null,"40A带漏电保护柜机插座"]
["100","030404017001","明装配电箱","台","1"]
[null,null,"60A空开1个，20A空开2个"]
[null,null,"四、水利科技协会"]
["101","030412004001","长型吊灯盘","套"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
["102","030411004001","超六类屏蔽网络线","m","122.80"]
[null,null,"超六类屏蔽网络线"]
["103","030411004002","4㎜2 BV铜芯线","m","88.60"]
[null,null,"4㎜2 BV铜芯线"]
["104","030411004003","2.5㎜2 BV铜芯线","m","186.30"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第9页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"2.5㎜2 BV铜芯线"]
["105","030411002001","线槽","m","52.60"]
[null,null,"明装24线槽布置"]
["106","030411002","线槽","m","48.00"]
[null,null,"走地明装50线槽布置"]
["107","030404035001","明装网络插座","套","8"]
["108","030404035002","明装10A普通五孔插座","套","10"]
[null,null,"明装10A普通五孔插座"]
["109","030404035003","40A带漏电保护柜机插座","套","2"]
[null,null,"40A带漏电保护柜机插座"]
["110","030404017001","明装配电箱","台","1"]
[null,null,"60A空开1个，20A空开2个"]
[null,null,"五、团学活动中心"]
["111","030412004001","长型吊灯盘","套"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
["112","030411004001","超六类屏蔽网络线","m","26.00"]
[null,null,"超六类屏蔽网络线"]
["113","030411004002","4㎜2 BV铜芯线","m","32.00"]
[null,null,"4㎜2 BV铜芯线"]
["114","030411004003","2.5㎜2 BV铜芯线","m","143.00"]
[null,null,"2.5㎜2 BV铜芯线"]
["115","030411002001","线槽","m","36.00"]
[null,null,"明装24线槽布置"]
["116","030404035001","明装网络插座","套","3"]
["117","030404035002","明装10A普通五孔插座","套","6"]
[null,null,"明装10A普通五孔插座"]
["118","030404035003","40A带漏电保护柜机插座","套","1"]
[null,null,"40A带漏电保护柜机插座"]
["119","030404017001","明装配电箱","台","1"]
[null,null,"60A空开1个，20A空开2个"]
[null,null,"六、团学活动隔壁同户型办公室"]
["120","030412004001","灯盘","套"]
[null,null,"LED嵌入式规格：600*600"]
[null,null,"七、素质团队工作中心"]
["121","030412004001","长型吊灯盘","套"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第10页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["122","030411004001","超六类屏蔽网络线","m","36.00"]
[null,null,"超六类屏蔽网络线"]
["123","030411004002","4㎜2 BV铜芯线","m","86.40"]
[null,null,"4㎜2 BV铜芯线"]
["124","030411004003","2.5㎜2 BV铜芯线","m","149.00"]
[null,null,"2.5㎜2 BV铜芯线"]
["125","030411002001","线槽","m","64.00"]
[null,null,"明装24线槽布置"]
["126","030411002","线槽","m","38.00"]
[null,null,"走地明装50线槽布置"]
["127","030404035001","明装网络插座","套","4"]
["128","030404035002","明装10A普通五孔插座","套","6"]
[null,null,"明装10A普通五孔插座"]
["129","030404035003","40A带漏电保护柜机插座","套","2"]
[null,null,"40A带漏电保护柜机插座"]
["130","030404017001","明装配电箱","台","1"]
[null,null,"60A空开1个，20A空开2个"]
[null,null,"八、学生水文化提升书屋"]
["131","030412004001","长型吊灯盘","套"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
["132","030411004001","超六类屏蔽网络线","m","21.00"]
[null,null,"超六类屏蔽网络线"]
["133","030411004002","4㎜2 BV铜芯线","m","86.40"]
[null,null,"4㎜2 BV铜芯线"]
["134","030411004003","2.5㎜2 BV铜芯线","m","149.00"]
[null,null,"2.5㎜2 BV铜芯线"]
["135","030411002001","线槽","m","64.00"]
[null,null,"明装24线槽布置"]
["136","030404035001","明装网络插座","套","1"]
["137","030404035002","明装10A普通五孔插座","套","8"]
[null,null,"明装10A普通五孔插座"]
["138","030404035003","40A带漏电保护柜机插座","套","2"]
[null,null,"40A带漏电保护柜机插座"]
["139","030404017001","明装配电箱","台","1"]
[null,null,"60A空开1个，20A空开2个"]
[null,null,"九、文化走廊（一楼前后门楼梯间、过道）"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第11页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["140","030412004001","长型吊灯盘","套","3"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
["141","030412004","圆形吸顶灯（一楼后门过道）","套","5.00"]
[null,null,"1、LED 36W 高亮圆形灯；2、规格：Ф360"]
["142","030411004003","2.5㎜2 BV铜芯线","m","149.00"]
[null,null,"2.5㎜2 BV铜芯线"]
["143","030411002001","线槽","m","46.00"]
[null,null,"明装24线槽布置"]
[null,null,"二楼楼道文化走廊（走廊部分）"]
["144","030412004001","长型吊灯盘","套","14"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
["145","030412004","射灯","套","7"]
[null,null,"14W LED 嵌入式射灯"]
["146","030412004","灯带","m","9.50"]
[null,null,"超亮LED软灯带，带变压接头"]
["147","030411004003","2.5㎜2 BV铜芯线","m","188.30"]
[null,null,"2.5㎜2 BV铜芯线"]
["148","030411002001","线槽","m","96.00"]
[null,null,"明装24线槽布置"]
["149","030404034","照明开关","套","1"]
[null,null,"十、大堂及两边过道"]
["150","030412004","圆形吸顶灯（一楼大堂过道）","套","16.00"]
[null,null,"1、LED 60W 高亮圆形灯；2、规格：Ф48"]
["151","030411004003","2.5㎜2 BV铜芯线","m","32.00"]
[null,null,"2.5㎜2 BV铜芯线"]
["152","030411002001","线槽","m","16.00"]
[null,null,"明装24线槽布置"]
[null,null,"十一、学生职业素质拓展中心"]
["153","030412004001","长型吊灯盘","套","12"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
["154","030412004","射灯","套","8"]
[null,null,"舞台直射灯"]
["155","030412004","舞台镭射灯","套（m|㎡）","1.00"]
[null,null,"声控七彩激光镭射舞台灯"]
["156","030411004001","超六类屏蔽网络线","m","21.00"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第12页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"超六类屏蔽网络线"]
["157","030411004002","4㎜2 BV铜芯线","m","136.60"]
[null,null,"4㎜2 BV铜芯线"]
["158","030411004003","2.5㎜2 BV铜芯线","m","324.80"]
[null,null,"2.5㎜2 BV铜芯线"]
["159","030411002001","线槽","m","116.90"]
[null,null,"明装24线槽布置"]
["160","030404035001","明装网络插座","套","1"]
["161","030404035002","明装10A普通五孔插座","套","6"]
[null,null,"明装10A普通五孔插座"]
["162","030404035003","40A带漏电保护柜机插座","套","2"]
[null,null,"40A带漏电保护柜机插座"]
["163","030404017001","明装配电箱","台","1"]
[null,null,"60A空开1个，20A空开2个"]
[null,null,"十三、学生素养训练间"]
["164","030412004001","长型吊灯盘","套","12"]
[null,null,"1、LED 72W 高亮灯盘；2、规格：1200*300"]
["165","030411004002","4㎜2 BV铜芯线","m","82.00"]
[null,null,"4㎜2 BV铜芯线"]
["166","030411004003","2.5㎜2 BV铜芯线","m","96.00"]
[null,null,"2.5㎜2 BV铜芯线"]
["167","030411002001","线槽","m","28.00"]
[null,null,"明装24线槽布置"]
["168","030404035002","明装10A普通五孔插座","套","4"]
[null,null,"明装10A普通五孔插座"]
["169","030404035003","40A带漏电保护柜机插座","套","2"]
[null,null,"40A带漏电保护柜机插座"]
["170","030404017001","明装配电箱","台","1"]
[null,null,"60A空开1个，20A空开2个"]
[null,null,"十四、3D室改造"]
["171","030411004003","2.5㎜2 BV铜芯线","m","38.60"]
[null,null,"2.5㎜2 BV铜芯线"]
["172","030411002001","线槽","m","20.20"]
[null,null,"明装24线槽布置"]
["173","030404035002","明装10A普通五孔插座","套","2"]
[null,null,"明装10A普通五孔插座"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第13页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["174","030404017001","明装配电箱","台","1"]
[null,null,"60A空开1个，20A空开2个"]
[null,null,"十六、全场电源检测检修、网络线"]
["175","B001","全场电路检测","㎡","2660.00"]
[null,null,"全场线路检测"]
["176","B003","网络跳线","条","70"]
[null,null,"超六类屏蔽网络线、水晶头，3米长"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"“三全育人”水利书院-拆除"]
[null,null,"分部分项工程"]
[null,null,"一、易班中心"]
["177","FA171400100001","灯具拆除","套","6"]
[null,null,"原旧灯管拆除（1200长）"]
["178","B001","拆除窗帘","幅","1"]
[null,null,"原旧窗帘拆除（尺寸6000长*2100高)"]
[null,null,"二、心理辅导站"]
["179","FA171400100002","灯具拆除","套","6"]
[null,null,"原旧灯管拆除（1200长）"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第14页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["180","B001","旧制度牌拆除","块","6"]
["181","B001","圆钢立柱","条","10"]
["182","B001","拆除窗帘","幅","1"]
[null,null,"原旧窗帘拆除（尺寸6000长*2100高)"]
[null,null,"三、创新创业中心"]
["183","FA171400100003","灯具拆除","套","6"]
[null,null,"原旧灯管拆除（1200长）"]
["184","B001","拆除窗帘","幅","1"]
[null,null,"原旧窗帘拆除（尺寸6000长*2100高)"]
[null,null,"四、水利科技协会"]
["185","FA171400100004","灯具拆除","套","12"]
[null,null,"原旧灯管拆除（1200长）"]
["186","B001","旧制度牌拆除","块","6"]
["187","B001","拆立柱","条","10"]
[null,null,"1.2米高，地面有膨胀钉固定。"]
["188","B001","拆除窗帘","幅","2"]
[null,null,"原旧窗帘拆除（尺寸6000长*2100高)"]
[null,null,"五、团学活动中心"]
["189","FA171400100005","灯具拆除","套","4"]
[null,null,"原旧灯管拆除（1200长）"]
["190","B001","拆除窗帘","幅","1"]
[null,null,"外围高窗面窗（尺寸2700长*3000高）"]
[null,null,"六、团学活动隔壁同户型办公室"]
["191","FA171400100006","灯具拆除","套","12"]
[null,null,"规格：600*600"]
[null,null,"七、素质团队工作中心"]
["192","FA171400100007","灯具拆除","套","6"]
[null,null,"原旧灯管拆除（1200长）"]
["193","B001","拆除小窗套","个","1.00"]
[null,null,"内窗（尺寸1800长*1500高）"]
["194","B001","拆除窗帘","幅","3"]
[null,null,"外围高窗面窗（尺寸2700长*3000高）"]
[null,null,"八、学生水文化提升书屋"]
["195","FA171400100008","灯具拆除","套","12"]
[null,null,"原旧灯管拆除（1200长）"]
["196","B001","拆立柱","条","10"]
[null,null,"1.2米高，地面有膨胀钉固定。"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第15页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["197","B001","拆除窗帘","幅","2"]
[null,null,"原旧窗帘拆除（尺寸6000长*2100高)"]
[null,null,"九、文化走廊（一楼前后门楼梯间、过道）"]
["198","FA171400100009","灯具拆除","套","2"]
[null,null,"原旧灯管拆除（1200长）"]
["199","FA171100200001","拆除门","樘","4"]
[null,null,"双开防火门（1750*2100）"]
["200","FA171100200002","拆除门","樘","1"]
[null,null,"双开防盗门（1250*2100）"]
["201","FA171100200003","拆除门","樘","2"]
[null,null,"电房门（700*2100）"]
["202","B001","宣传牌","幅","45"]
[null,null,"楼道旧宣传牌"]
[null,null,"二楼楼道文化走廊（走廊部分）"]
["203","FA171400101001","灯具拆除","套","6"]
[null,null,"原旧灯管拆除（1200长）"]
[null,null,"十、大堂及两边过道"]
["204","FA171400101002","灯具拆除","套","14"]
[null,null,"原旧灯管拆除（1200长）"]
[null,null,"十一、学生职业素质拓展中心"]
["205","FA171400101003","灯具拆除","套","4"]
[null,null,"原旧灯管拆除（1200长）"]
["206","B001","PVC宣传牌","㎡","6.00"]
[null,null,"固定墙面"]
["207","B001","柱盆、水龙头","项","1"]
["208","B001","拆除窗帘","幅","2"]
[null,null,"外围高窗面窗（尺寸2700长*3000高）"]
[null,null,"十三、学生素养训练间"]
["209","FA171400101004","灯具拆除","套","12"]
[null,null,"原旧灯管拆除（1200长）"]
["210","B001","拆除窗帘","幅","2"]
[null,null,"外围高窗面窗（尺寸2700长*3000高）"]
[null,null,"十四、3D室改造"]
["211","B001","原凳子拆移","位","60"]
[null,null,"拆除紧固螺钉移走。"]
["212","B001","拆双开门","樘","1"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:“三全育人”水利书院 ",{"$nulls":5},"第16页 共16页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["213","B001","凿墙做门洞","㎡","6.00"]
[null,null,"1、机械切割凿墙做门洞；2、1500*2150"]
["214","B001","拆铝合金窗","扇","1"]
[null,null,"铝合金玻璃窗：1500*1800"]
["215","B001","拆除窗帘","幅","1"]
[null,null,"外围高窗面窗（尺寸2700长*3000高）"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[]
[]
[]
[]
[{"$nulls":7},"表-08"]