{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":16,"n_cols":8,"rows_kept":16,"merged":[[0,0,0,7]]}
["2020年消防器材采购清单"]
["序号","名  称","参考品牌、型号","计量 单位","数量","单价（元）","小计（元）","备注"]
[6,"消防灭火器箱","新鸿牌","个",250,null,null,"新增里建校区学生公寓、教学楼灭火器，包运输、安放"]
[2,"4Kg干粉灭火器","广东胜安，鱼峰","瓶",852,null,null,"回收充装长堽、里建校区实验室灭火器，包回收充装、运输、安放"]
[3,"4Kg干粉灭火器","洪湖牌","瓶",450,null,null,"新购里建校区250瓶，新购消防演练200瓶，包运输、安放"]
[5,"30kg手推式干粉灭火器","南京洪湖牌，南京江浦","台",10,null,null,"新增，长堽、里建校区"]
[1,"3KgCO2灭火器","南京洪湖牌，南京江浦","瓶",200,null,null,"新增，长堽、里建校区"]
[4,"2Kg干粉灭火器","新鸿","瓶",260,null,null,"回收充装长堽校区所有建筑灭火器，包回收充装、运输、安放"]
[7,"消防水带（接扣）","沱雨三江","套",170,null,null,"新增，长堽、里建校区，包运输、安方"]
[8,"消防栓箱（含玻璃、框架）",null,"块",60,null,null,"新增，长堽、里建校区，包运输、安装"]
[9,"消防演练烟雾弹","广东胜安，鱼峰","个",30,null,null,"新增，学院年度消防演练"]
[10,"消防演练烟饼","洪湖牌","公斤",8,null,null,"新增，学院年度消防演练"]
[11,"消防演练口哨","新鸿","个",120,null,null,"新增，学院年度消防演练"]
[12,"火把","南京洪湖牌，南京江浦","个",30,null,null,"新增，学院年度消防演练"]
[13,"消防演练宣传横幅","每条规格15m*0.9m","条",8,null,null,"新增，学院年度消防演练，包制作、安装"]
[null,"合计"]