{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["表-08_分部分项工程和单价措施项目清单与计价表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":0,"n_rows":122,"n_cols":8,"rows_kept":122,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[37,0,37,7],[38,0,38,5],[38,6,38,7],[39,0,41,0],[39,1,41,1],[39,2,41,2],[39,3,41,3],[39,4,41,4],[39,5,39,7],[40,5,41,5],[40,6,41,6],[79,0,79,7],[80,0,80,5],[80,6,80,7],[81,0,83,0],[81,1,83,1],[81,2,83,2],[81,3,83,3],[81,4,83,4],[81,5,81,7],[82,5,83,5],[82,6,83,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院里建校区教学实训综合楼0.4kV配电工程。",{"$nulls":5},"第1页 共3页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"分部分项工程"]
[null,"0304","电气设备安装工程"]
["1","030403006001","防水型、封闭式、浇注式母线槽3150A/4P","m","8.00"]
[null,null,"3AA低压出线柜接出母线，并接入户外低压开关箱D1进线柜"]
[null,null,"规格：TMY-3×(2×80×10)+1×80×10"]
["2","030408001001","铜芯电力电缆 ZR-YJV-0.6/1kV-4x300","m","431.53"]
[null,null,"敷设实训楼北侧配电房主干线电缆 ZR-YJV-0.6/1kV-4x300至低压电缆分接箱"]
["3","030408001002","铜芯电力电缆 ZR-YJV-0.6/1kV-4x120","m","5.00"]
[null,null,"敷设铜芯电力电缆 ZR-YJV-0.6/1kV-4x120至实训楼南侧照明总箱aMAL1"]
["4","030408001003","铜芯电力电缆 ZR-YJV-0.6/1kV-4x185","m","5.00"]
[null,null,"敷设铜芯电力电缆 ZR-YJV-0.6/1kV-4x185至实训楼南侧空调总箱aKAL1"]
["5","030408001004","铜芯电力电缆 ZR-YJV-0.6/1kV-4x185","m","5.00"]
[null,null,"敷设铜芯电力电缆 ZR-YJV-0.6/1kV-4x185至实训楼南侧空调总箱aPAL1"]
["6","030408001005","铜芯电力电缆 ZR-YJV-0.6/1kV-4x70","m","5.00"]
[null,null,"敷设铜芯电力电缆 ZR-YJV-0.6/1kV-4x70至实训楼北侧照明总箱bMAL1"]
["7","030408001006","铜芯电力电缆 ZR-YJV-0.6/1kV-4x185","m","5.00"]
[null,null,"敷设铜芯电力电缆 ZR-YJV-0.6/1kV-4x185至实训楼北侧空调总箱bPAL1"]
["8","030408001007","铜芯电力电缆 ZR-YJV-0.6/1kV-4x120","m","5.00"]
[null,null,"敷设铜芯电力电缆 ZR-YJV-0.6/1kV-4x120至实训楼北侧照明总箱bKAL1"]
["9","030408006001","电力电缆头  ZR-YJV-0.6/1kV-4x70","套","2"]
["10","030408006002","电力电缆头   ZR-YJV-0.6/1kV-4x120","套","4"]
["11","030408006003","电力电缆头   ZR-YJV-0.6/1kV-4x185","套","6"]
["12","030408006004","电力电缆头   ZR-YJV-0.6/1kV-4x300","套","4"]
["13","桂030402019001","成套户外低压开关箱","台","1"]
[null,null,"成套户外低压开关箱安装 包含D1、D2、D3、不锈钢箱体"]
[null,null,"配置：详见系统图"]
["14","桂030402019002","低压电缆分接箱","台","2"]
[null,null,"低压电缆分接箱安装 一进四出"]
["15","桂030404037001","基础槽钢、角钢制作安装 槽钢","m","8.00"]
[null,null,"10#槽钢"]
["16","030409001001","垂直接地极","根","11"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院里建校区教学实训综合楼0.4kV配电工程 ",{"$nulls":5},"第2页 共3页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"材质:热镀锌角钢L50*5,L=1.5m"]
["17","030409002001","户外接地母线","根","10.00"]
[null,null,"材质:热镀锌扁钢－40*4*6000"]
["18","030409002002","户外接地母线","m","1.50"]
[null,null,"材质:热镀锌圆钢φ16"]
["19","030414011001","接地装置调试  接地网","系统","1"]
["20","桂030413011001","成套户外低压开关箱基础","座","1"]
[null,null,"垫层:C15钢筋混凝土，厚度200mm"]
[null,null,"井壁:C25商品普通砼"]
[null,null,"砌MU10砖，M7.5水泥砂浆"]
[null,null,"基础侧墙内外面及底面抹防水砂浆，厚度20mm"]
[null,null,"含砼模板制作、安装及拆除"]
["21","030408003001","电缆保护管 C-PVC/φ160-8.0mm","m","150.00"]
["22","040201022001","10×φ160行人排管（混凝土路面）","m","7.00"]
["23","040201022002","10×φ160行人排管（人行砖路面）","m","8.00"]
["24","040504002001","电缆井(2m*2m行人）","座","1"]
["25","080802013001","电缆标示桩","块","2"]
{"$rows_empty":10}
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院里建校区教学实训综合楼0.4kV配电工程 ",{"$nulls":5},"第3页 共3页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":26}
[{"$nulls":7},"表-08"]