{"text_format":"3","workbook":"xls","n_sheets":9,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表（分专业）","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料及价格表(有信息价)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"29栋成教楼翻新工程",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西水利电力职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[null,null,"广西瑞真工程造价咨询有限责任公司"]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2022年06月07日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"29栋成教楼翻新工程",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西水利电力职业技术学院",{"$nulls":3},"广西瑞真工程造价咨询有限责任公司"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",null,"2022年06月07日",null,null,"复 核 时 间：","2022年06月07日"]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-03_单项工程投标报价汇总表","index":2,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[1,4,1,4],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:29栋成教楼翻新工程",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","29栋成教楼翻新工程-拆除工程"]
["1.2","29栋成教楼翻新工程-翻新工程"]
[null,"        投标报价合计"]
{"$rows_empty":26}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表（分专业）","index":3,"n_rows":84,"n_cols":4,"rows_kept":84,"merged":[[0,0,0,3],[1,0,1,2],[42,0,42,3],[43,0,43,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:29栋成教楼翻新工程",null,null,"第1页 共2页"]
["序号","汇总内容","金额(元)","备注"]
[null,"29栋成教楼翻新工程-拆除工程"]
["一","拆除工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
["5.1","规费"]
["5.2","税金"]
["6","工程总造价"]
[null,"工程总价"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
["5.1","规费"]
["5.2","税金"]
["6","工程总造价"]
[null,"29栋成教楼翻新工程-翻新工程"]
["一","建筑装饰装修工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
["5.1","规费"]
["5.2","增值税"]
["6","工程总造价"]
[null,"工程总价"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
[null,null," ","表-04"]
["单位工程投标报价汇总表"]
["工程名称:29栋成教楼翻新工程",null,null,"第2页 共2页"]
["序号","汇总内容","金额(元)","备注"]
["2","总价措施项目清单计价合计"]
["2.1","安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
["5.1","规费"]
["5.2","增值税"]
["6","工程总造价"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
["5.1","规费"]
["5.2","税金"]
["6","工程总造价"]
{"$rows_empty":19}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":4,"n_rows":196,"n_cols":8,"rows_kept":196,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[36,0,36,7],[37,0,37,5],[37,6,37,7],[38,0,40,0],[38,1,40,1],[38,2,40,2],[38,3,40,3],[38,4,40,4],[38,5,38,7],[39,5,40,5],[39,6,40,6],[73,0,73,7],[74,0,74,5],[74,6,74,7],[75,0,77,0],[75,1,77,1],[75,2,77,2],[75,3,77,3],[75,4,77,4],[75,5,75,7],[76,5,77,5],[76,6,77,6],[114,0,114,7],[115,0,115,5],[115,6,115,7],[116,0,118,0],[116,1,118,1],[116,2,118,2],[116,3,118,3],[116,4,118,4],[116,5,116,7],[117,5,118,5],[117,6,118,6],[153,0,153,7],[154,0,154,5],[154,6,154,7],[155,0,157,0],[155,1,157,1],[155,2,157,2],[155,3,157,3],[155,4,157,4],[155,5,155,7],[156,5,157,5],[156,6,157,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:29栋成教楼翻新工程 ",{"$nulls":5},"第1页 共5页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"29栋成教楼翻新工程-拆除工程"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["1","011610002001","卫生间门拆除","樘","53"]
[null,null,"1.部位：卫生间"]
[null,null,"2.特征：定制塑钢门，尺寸：800*2000mm"]
[null,null,"3．门、窗框及扇的整体拆除或单项拆除。"]
[null,null,"4. 拆除的渣土废弃材料和可用材料全部下地，运至被拆除建筑物30m以内指定地点，清理归堆、码放整齐。"]
["2","011610001001","木门拆除","樘","53"]
[null,null,"1.部位：房间大门"]
[null,null,"2.尺寸：860*2700mm"]
[null,null,"3.按实际工作量结算"]
[null,null,"4．门、窗框及扇的整体拆除或单项拆除。"]
[null,null,"5. 拆除的渣土废弃材料和可用材料全部下地，运至被拆除建筑物30m以内指定地点，清理归堆、码放整齐。"]
["3","011201001001","房间墙面一般抹灰","㎡","3611.32"]
[null,null,"1.部位：房间墙面"]
[null,null,"2.特征：腻子层"]
["4","011301001001","房间天棚抹灰","㎡","1584.24"]
[null,null,"1.部位：房间天棚"]
[null,null,"2.特征：腻子层"]
[null,null,"3. 清理涂料层：涂料铲除、打磨、剔凿。"]
[null,null,"4. 揭撕墙纸。"]
[null,null,"5. 拆除的渣土废弃材料和可用材料全部下地，运至被拆除建筑物30m以内指定地点，清理归堆、码放整齐。"]
["5","011201001002","外墙墙面一般抹灰","㎡","1440.99"]
[null,null,"1.部位：阳台，走廊及楼梯间墙面"]
[null,null,"2.特征：腻子层"]
["6","011301001002","外墙天棚抹灰","㎡","766.46"]
[null,null,"1.部位：阳台，走廊及楼梯间天棚"]
[null,null,"2.特征：腻子层"]
[null,null,"3. 清理涂料层：涂料铲除、打磨、剔凿。"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:29栋成教楼翻新工程 ",{"$nulls":5},"第2页 共5页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"4. 揭撕墙纸。"]
[null,null,"5. 拆除的渣土废弃材料和可用材料全部下地，运至被拆除建筑物30m以内指定地点，清理归堆、码放整齐。"]
["7","010505003001","平板拆除","","0.41"]
[null,null,"1.部位：房间平板"]
[null,null,"2.尺寸：混凝平板，600*1500*10mm"]
[null,null,"3.数量：每间房3块，暂时1/3房间，按照实际工程量结算"]
[null,null,"4.破碎混凝土，断钢筋、剔凿、清理渣土，拆除材料全部下地，渣土运至被拆除建筑物30m以内地点堆放。"]
["8","011613002001","玻璃拆除","㎡","36.98"]
[null,null,"1.部位：破损玻璃拆除"]
[null,null,"2.特征：C1尺寸1450*1700mm"]
[null,null,"3.渣土废弃材料全部下地，运至被拆除建筑物30m以内指定地点，清理归堆。"]
[null,null,"G.4 渣土场外运输"]
["9","010103002001","弃渣弃置（含：起步1KM)","","251.13"]
[null,null,"1.场内渣土运至装车地点集中、装车、运输、卸车及场地、车厢的清理等内容。"]
[null,null,"2.加盖自卸垃圾车。"]
["10","桂010103003001","土（石）方运输增（减）m3·km","·km","5022.60"]
[null,null,"1.场内渣土运至装车地点集中、装车、运输、卸车及场地、车厢的清理等内容。"]
[null,null,"2.加盖自卸垃圾车。"]
[null,null,"3.工程量暂按增运20KM计算，结算按实际运距作调整。"]
["11","010103002002","弃渣弃置费","","251.13"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:29栋成教楼翻新工程 ",{"$nulls":5},"第3页 共5页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"29栋成教楼翻新工程-翻新工程"]
[null,null,"分部分项工程"]
[null,null,"A.3 砌筑工程"]
["12","010401004001","多孔砖墙","","0.31"]
[null,null,"1.部位：补齐被破坏墙体"]
[null,null,"2.特征：混水砖墙 标准砖240×115×53 墙体厚度 240mm，700*1850mm"]
[null,null,"A.10 墙、柱面工程"]
["13","011201001003","房间墙面腻子粉","㎡","3611.32"]
[null,null,"1.部位：房间墙面"]
[null,null,"2.特征：内墙成品腻子2遍"]
[null,null,"A.11 天棚工程"]
["14","011301001003","房间天棚抹灰","㎡","1584.24"]
[null,null,"1.部位：房间天棚"]
[null,null,"2.特征：内墙成品腻子2遍"]
["15","011301001004","外墙天棚抹灰","㎡","766.46"]
[null,null,"1.部位：阳台，走廊及楼梯间天棚"]
[null,null,"2.特征：天棚成品防水腻子2遍"]
[null,null,"A.12 门窗工程"]
["16","010804003001","房间铁门安装","㎡","15.55"]
[null,null,"1.部位：房间铁门"]
[null,null,"2.特征：定制铁门，尺寸960*2700mm"]
["17","010802001001","卫生间门安装","㎡","84.80"]
[null,null,"1.部位：卫生间"]
[null,null,"2.特征：80系列塑钢平开门，尺寸：800*2000mm"]
["18","010801003001","房间后木门连窗门","㎡","34.83"]
[null,null,"1.部位：房间阳台门"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:29栋成教楼翻新工程 ",{"$nulls":5},"第4页 共5页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"2.特征：木门，860*2700mm"]
[null,null,"3.数量：修补破损的木门，暂按照1/3总量计算，以实际结算。"]
["19","030404033001","风扇安装","台","106"]
[null,null,"1.部位：房间风扇"]
[null,null,"2.特征：甲方供货，吊顶式"]
["20","011505002001","晒衣杆制作安装","m","323.00"]
[null,null,"1.部位：走廊晾衣杆"]
[null,null,"2.特征：32mm不锈钢管，含五件安装等"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["21","011407002001","天棚刷乳胶漆涂料","㎡","1436.64"]
[null,null,"1.部位：房间天棚"]
[null,null,"2.特征：乳胶漆，1遍"]
["22","011407001001","房间墙面刷乳胶漆涂料","㎡","3611.32"]
[null,null,"1.部位：房间墙面"]
[null,null,"2.特征：乳胶漆，1遍"]
["23","011407002002","外墙天棚刷乳胶漆涂料","㎡","766.46"]
[null,null,"1.部位：阳台，走廊及楼梯间天棚"]
[null,null,"2.特征：乳胶漆"]
["24","010802001002","房间铁门翻新","㎡","121.82"]
[null,null,"1.部位：房间大门"]
[null,null,"2.特征：门板手工除锈，喷漆翻新，红丹防锈漆1遍，调和漆两遍，尺寸：960*2700mm"]
["25","011503001001","走廊及阳台护栏改造","m","348.66"]
[null,null,"1.部位：走廊及阳台"]
[null,null,"2.特征：除锈，红丹防锈漆1遍，调和漆2遍"]
["26","011503001002","楼梯扶手翻新","m","88.60"]
[null,null,"1.部位：楼梯扶手，栏杆"]
[null,null,"2.特征：60mm钢管，红丹防锈漆1遍，调和漆2遍"]
["27","011402002001","木窗油漆","㎡","130.65"]
[null,null,"1.部位：走廊阳台窗户"]
[null,null,"2.特征：更换损坏玻璃，更换玻璃规格为5mm厚白玻，清理并翻新油漆"]
[null,null,"3.木窗刷漆：防火涂料2遍，调和漆2遍。"]
[null,null,"4.尺寸：1450*1700mm"]
[null,null,"     小    计"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:29栋成教楼翻新工程 ",{"$nulls":5},"第5页 共5页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":12}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":5,"n_rows":40,"n_cols":7,"rows_kept":40,"merged":[[0,0,0,6],[1,0,1,4],[5,3,6,3],[9,3,12,3],[38,0,38,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:29栋成教楼翻新工程   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"29栋成教楼翻新工程-拆除工程"]
["一",null,"拆除工程"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["3","桂011801003001","雨季施工增加费"]
[null,null,"29栋成教楼翻新工程-翻新工程"]
["一",null,"建筑装饰装修工程"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"      合     计"]
{"$rows_empty":24}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-14_税前项目清单与计价表","index":6,"n_rows":43,"n_cols":7,"rows_kept":43,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[41,0,41,6],[42,0,42,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:29栋成教楼翻新工程 ",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"29栋成教楼翻新工程-翻新工程"]
["1","011407001002","弹性内墙乳胶漆","㎡","1440.98"]
[null,null,"1.部位：阳台、走廊、楼梯"]
[null,null,"2.水性，一底二面，国产"]
[null,null,"               合             计"]
{"$rows_empty":31}
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":7,"n_rows":39,"n_cols":5,"rows_kept":39,"merged":[[0,0,0,4],[1,0,1,3],[6,2,11,2],[12,2,13,2],[14,2,19,2],[23,2,29,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:29栋成教楼翻新工程",{"$nulls":3},"第1页 共1页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"29栋成教楼翻新工程-拆除工程"]
["一","拆除工程"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金","分部分项及单价措施工程费+总价措施项目费+其他项目费"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[null,"29栋成教楼翻新工程-翻新工程"]
["一","建筑装饰装修工程"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"       合          计"]
[]
[]
[]
[]
[]
[{"$nulls":4},"表-15"]

{"sheet":"主要材料及价格表(有信息价)","index":8,"n_rows":37,"n_cols":6,"rows_kept":37,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:29栋成教楼翻新工程",{"$nulls":3},"第1页  共1页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,"R0101001","建筑综合工日(一类)","工日"]
[2,"010903015","圆钢HPB300 Φ10～14","kg"]
[3,"030156014","膨胀螺栓 M8×65","套"]
[4,"030183001","铁钉(综合)","kg"]
[5,"031311001","电焊条（综合）","kg"]
[6,"032116004","预埋铁件","kg"]
[7,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[8,"040301001","砂(综合)",""]
[9,"040301004","中砂",""]
[10,"040902004","石灰膏",""]
[11,"041301001","页岩标准砖 240×115×53","千块"]
[12,"050301003","一等杉木枋材",""]
[13,"050304004","二等松杂板枋材(综合)",""]
[14,"050306001","周转板枋材",""]
[15,"050501001","胶合板 3mm","㎡"]
[16,"060101001","平板浮法玻璃 5mm","㎡"]
[17,"110303001","铁门960*2700mm","㎡"]
[18,"111102001","80系列塑钢平开门","㎡"]
[19,"130102001","调和漆(综合)","kg"]
[20,"130104001","无光调和漆","kg"]
[21,"130301001","乳胶漆","kg"]
[22,"130501001","防火涂料（综合）","kg"]
[23,"130507002","红丹防锈漆","kg"]
[24,"140301004","国V汽油 92#","kg"]
[25,"143901001","乙炔气",""]
[26,"144108001","乳白胶","kg"]
[27,"170508020","不锈钢管Φ32×0.8 304材质","m"]
[28,"341101001","水",""]
[29,"130311003","成品腻子粉（一般型）","kg"]
[30,"133501001","防水腻子","kg"]
[31,"140304001","轻柴油 0#","kg"]
[32,"341103001","电","kW.h"]
[33,"C1403001","轻柴油0#","kg"]
[34,"R0800001","机械台班工日","工日"]