{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":7,"rows_kept":7,"merged":[[0,0,0,6],[6,0,6,1]]}
["2020年消防器材更新采购清单"]
["序号","  名  称","  更换消防器材部位和要求","单位","  数  量"," 单价（元）"," 小 计（元）"]
[1,"消防灭火器箱","新购，能容纳放置4Kg灭火器2个，优质铁，掀盖式设计，灭火器箱的外形尺寸应符合我国公共安全行业标准GA 139—2009《灭火器箱》的规定，含运输及安放到指定地点。放置地点：长堽里建校区建筑物，","个",250]
[2,"4Kg干粉灭火器","新购，含运输及安放到指定地点。放置地点：里建校区所有建筑。","瓶",100]
[3,"消防应急照明灯","新购，力郎牌，含运输及安放到指定地点。放置地点：长堽里建校区建筑物。","个",250]
[null,"合计"]
["报价单位（名称）：",null,null,"报价人：",null,"联系电话："]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}