{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["表-08_分部分项工程和单价措施项目清单与计价表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":0,"n_rows":556,"n_cols":8,"rows_kept":556,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[41,0,41,7],[42,0,42,5],[42,6,42,7],[43,0,45,0],[43,1,45,1],[43,2,45,2],[43,3,45,3],[43,4,45,4],[43,5,43,7],[44,5,45,5],[44,6,45,6],[81,0,81,7],[82,0,82,5],[82,6,82,7],[83,0,85,0],[83,1,85,1],[83,2,85,2],[83,3,85,3],[83,4,85,4],[83,5,83,7],[84,5,85,5],[84,6,85,6],[120,0,120,7],[121,0,121,5],[121,6,121,7],[122,0,124,0],[122,1,124,1],[122,2,124,2],[122,3,124,3],[122,4,124,4],[122,5,122,7],[123,5,124,5],[123,6,124,6],[161,0,161,7],[162,0,162,5],[162,6,162,7],[163,0,165,0],[163,1,165,1],[163,2,165,2],[163,3,165,3],[163,4,165,4],[163,5,163,7],[164,5,165,5],[164,6,165,6],[200,0,200,7],[201,0,201,5],[201,6,201,7],[202,0,204,0],[202,1,204,1],[202,2,204,2],[202,3,204,3],[202,4,204,4],[202,5,202,7],[203,5,204,5],[203,6,204,6],[241,0,241,7],[242,0,242,5],[242,6,242,7],[243,0,245,0],[243,1,245,1],[243,2,245,2],[243,3,245,3],[243,4,245,4],[243,5,243,7],[244,5,245,5],[244,6,245,6],[284,0,284,7],[285,0,285,5],[285,6,285,7],[286,0,288,0],[286,1,288,1],[286,2,288,2],[286,3,288,3],[286,4,288,4],[286,5,286,7],[287,5,288,5],[287,6,288,6],[326,0,326,7],[327,0,327,5],[327,6,327,7],[328,0,330,0],[328,1,330,1],[328,2,330,2],[328,3,330,3],[328,4,330,4],[328,5,328,7],[329,5,330,5],[329,6,330,6],[368,0,368,7],[369,0,369,5],[369,6,369,7],[370,0,372,0],[370,1,372,1],[370,2,372,2],[370,3,372,3],[370,4,372,4],[370,5,370,7],[371,5,372,5],[371,6,372,6],[411,0,411,7],[412,0,412,5],[412,6,412,7],[413,0,415,0],[413,1,415,1],[413,2,415,2],[413,3,415,3],[413,4,415,4],[413,5,413,7],[414,5,415,5],[414,6,415,6],[448,0,448,7],[449,0,449,5],[449,6,449,7],[450,0,452,0],[450,1,452,1],[450,2,452,2],[450,3,452,3],[450,4,452,4],[450,5,450,7],[451,5,452,5],[451,6,452,6],[480,0,480,7],[481,0,481,5],[481,6,481,7],[482,0,484,0],[482,1,484,1],[482,2,484,2],[482,3,484,3],[482,4,484,4],[482,5,482,7],[483,5,484,5],[483,6,484,6],[514,0,514,7],[515,0,515,5],[515,6,515,7],[516,0,518,0],[516,1,518,1],[516,2,518,2],[516,3,518,3],[516,4,518,4],[516,5,516,7],[517,5,518,5],[517,6,518,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第1页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目-土建拆除"]
[null,null,"分部分项工程"]
[null,null,"拆除工程"]
["1","011605001001","平面块料拆除","㎡","18.90"]
[null,null,"1.饰面材料种类:水磨石"]
[null,null,"2.拆除方式:人工拆除"]
[null,null,"3.部位:阳台地面（走廊）"]
["2","011605002001","立面块料拆除","㎡","135.40"]
[null,null,"1.饰面材料种类:水磨石"]
[null,null,"2.拆除方式:人工拆除"]
[null,null,"3.部位:会议室、储藏室、门厅"]
["3","011605001002","平面块料拆除","㎡","21.45"]
[null,null,"1.饰面材料种类:地面砖"]
[null,null,"2.拆除方式:人工拆除"]
[null,null,"3.部位:卫生间地面"]
["4","011605002002","立面块料拆除","㎡","45.36"]
[null,null,"1.饰面材料种类:墙面瓷砖"]
[null,null,"2.拆除方式:人工拆除"]
[null,null,"3.部位:卫生间墙面"]
["5","011605002003","立面块料拆除","㎡","21.78"]
[null,null,"1.饰面材料种类:墙面瓷砖"]
[null,null,"2.拆除方式:人工拆除"]
[null,null,"3.部位:阳台栏杆（走廊）"]
["6","011608002001","铲除涂料面","㎡","293.42"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.部位:内墙"]
["7","011610001001","木门拆除","樘","2"]
[null,null,"1.拆除方式:人工拆除"]
["8","011610002001","金属门拆除","㎡","13.17"]
[null,null,"1.拆除方式:人工拆除"]
["9","011610001002","钢窗拆除","樘","15"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.部位:外窗"]
["10","011601001001","砖砌体拆除","","5.25"]
[null,null,"1.拆除方式:人工拆除"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第2页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"2.部位:卫生间矮墙、原会议室、储藏间、门厅、电梯井处"]
["11","011601001002","砖砌体拆除","","1.52"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.部位:卫生间台地"]
["12","010103002001","余土弃置","","34.66"]
[null,null,"1.按1km计"]
["13","桂010103003001","土（石）方运输增（减）m3·km","·km","34.66"]
[null,null,"1.运距：弃渣运输暂按增运9km计，相关说明详编制说明"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目-装饰土建改造"]
[null,null,"分部分项工程"]
[null,null,"A.3 砌筑工程"]
["14","010401005001","水泥空心砖墙","","17.71"]
[null,null,"1.砖品种、规格、强度等级:MU7.5水泥空心砖，"]
[null,null,"2.墙体厚度:120厚"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第3页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"3.墙体预留孔洞埋管后用C15细石混凝土封堵填实"]
["15","010401005002","水泥空心砖墙","","1.20"]
[null,null,"1.砖品种、规格、强度等级:MU7.5水泥空心砖，"]
[null,null,"2.墙体厚度:240厚"]
[null,null,"3.墙体预留孔洞埋管后用C15细石混凝土封堵填实"]
["16","010401004001","烧结多孔砖墙","","0.30"]
[null,null,"1.砖品种、规格、强度等级:MU7.5烧结多孔砖，"]
[null,null,"2.墙体厚度：240厚"]
[null,null,"3.部位：卫生间台阶"]
["17","010404001001","垫层","","0.87"]
[null,null,"1.卫生间陶粒回填"]
[null,null,"A.7 屋面及防水工程"]
["18","010904002001","1.楼(地)面涂膜防水","㎡","20.45"]
[null,null,"2.部位：卫生间地面"]
[null,null,"3.防水膜品种:聚氨酯防水涂料 1.5mm厚"]
[null,null,"4.做法详见：15ZJ001-页28-地201，F（防水楼面）"]
["19","010904002002","楼(地)面涂膜防水","㎡","6.64"]
[null,null,"1.防水膜品种：1.5厚聚氨酯防水涂料"]
[null,null,"2.部位：卫生间台阶"]
["20","010904002003","楼(地)面涂膜防水","㎡","18.90"]
[null,null,"1.部位：阳台地面（走廊）"]
[null,null,"2.防水膜品种:聚氨酯防水 1.5mm厚"]
[null,null,"3.做法详见：15ZJ001-页28-地201，F（防水地面）"]
["21","010903002001","墙面涂膜防水","㎡","93.70"]
[null,null,"1.部位：卫生间墙面"]
[null,null,"2.防水膜品种:聚合物水泥防水涂料 1.5mm厚"]
[null,null,"3.做法详见：15ZJ001-页64-内墙24"]
[null,null,"A.9 楼地面工程"]
["22","011102001001","花岗岩门槛石","㎡","3.35"]
[null,null,"1.做法详见：13J502-3，页H09-④"]
["23","011104002001","竹、木(复合)地板","㎡","335.09"]
[null,null,"1.面层复合木地板地面（910x110x12mm）"]
[null,null,"2.做法详见：15ZJ001-页37-地304"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第4页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["24","011102003001","块料楼地面","㎡","20.45"]
[null,null,"1.浅米黄防滑地砖（300x300mm）"]
[null,null,"2.部位：卫生间地面"]
[null,null,"3.做法详见：15ZJ001-页28-地201，F（防水楼面）"]
["25","011101006001","平面砂浆找平层","㎡","20.45"]
[null,null,"1.部位：卫生间地面"]
[null,null,"2.做法详见：15ZJ001-页28-地201，F（防水楼面）"]
["26","011102003002","块料楼地面","㎡","18.90"]
[null,null,"1.浅米黄防滑地砖（600x600mm）"]
[null,null,"2.部位：阳台地面（走廊）"]
[null,null,"3.做法详见：15ZJ001-页28-地201，F（防水楼面）"]
["27","011101006002","平面砂浆找平层","㎡","18.90"]
[null,null,"1.部位：阳台地面（走廊）"]
[null,null,"2.做法详见：15ZJ001-页28-地201，F（防水楼面）"]
["28","011105003001","块料踢脚线","㎡","3.02"]
[null,null,"1.180mm高深咖网釉面砖踢脚"]
[null,null,"2.做法详见：15ZJ001-页63-内墙20"]
["29","011105005001","木质踢脚线","㎡","14.67"]
[null,null,"1.成品120mm高酒红色高级实木踢脚"]
[null,null,"A.10 墙、柱面工程"]
["30","桂011204007001","1.块料墙面","㎡","93.70"]
[null,null,"2.釉面砖 450×300"]
[null,null,"3.做法详见：15ZJ001-页64-内墙24"]
[null,null,"4.部位：卫生间"]
["31","桂011204007002","1.块料墙面","㎡","21.78"]
[null,null,"2.釉面砖 300×300"]
[null,null,"3.做法详见：15ZJ001-页64-内墙24"]
[null,null,"4.部位：阳台栏杆（走廊）"]
["32","桂011204005001","石材墙面","㎡","48.24"]
[null,null,"1.干挂20mm厚新西米黄大理石，留8mmV缝"]
[null,null,"2.做法详见：13J5021-1/D15"]
["33","011105002001","石材踢脚线","㎡","4.67"]
[null,null,"1.干挂180mm高深灰色大理石踢脚线"]
[null,null,"2.做法详见：13J5021-1/D15"]
["34","011207001001","墙面装饰板","㎡","9.60"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第5页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.银灰色艺术软包：市场选购、定制"]
["35","011502002001","木质装饰线","m","37.92"]
[null,null,"1.成品100mm宽胡桃木实木装饰线条"]
["36","011502007001","塑料装饰线","m","8.08"]
[null,null,"1.成品150mm宽石塑装饰线条"]
["37","桂011204007003","木色吸音墙面","㎡","36.29"]
[null,null,"1.市场选购、定制"]
[null,null,"2.20mm厚大芯板底挂栗木色吸音板"]
["38","桂011206004001","石材墙面","㎡","10.55"]
[null,null,"1.干挂20mm厚金啡网大理石，留8mmV缝"]
[null,null,"2.做法详见：13J5021-1/D15"]
["39","桂011204005002","石材墙面","㎡","1.44"]
[null,null,"1.干挂20mm厚浅啡网大理石。磨10mm斜边"]
[null,null,"2.做法详见：13J5021-1/D15"]
["40","桂011204005003","石材门套墙面","㎡","2.52"]
[null,null,"1.干挂20mm深啡网大理石门套"]
[null,null,"A.11 天棚工程"]
["41","011302001001","吊顶天棚","㎡","132.15"]
[null,null,"1.位置：办公室"]
[null,null,"2.龙骨材料种类、规格:0.8mm厚轻钢龙骨"]
[null,null,"3.面层材料品种、规格:白色微孔铝扣板600x600mm  密拼"]
[null,null,"4.做法详见：15ZJ001-页94-棚17"]
["42","011302001002","吊顶天棚","㎡","21.46"]
[null,null,"1.位置：卫生间"]
[null,null,"2.龙骨材料种类、规格:0.6mm厚轻钢龙骨"]
[null,null,"3.面层材料品种、规格:铝扣板300x300mm  密拼"]
[null,null,"4.做法详见：15ZJ001-页94-棚17"]
["43","011302001003","吊顶天棚","㎡","54.18"]
[null,null,"1.位置：国际会客厅、多功能会议室、休息区"]
[null,null,"2.龙骨材料种类、规格:0.8mm厚轻钢龙骨"]
[null,null,"3.面层材料品种、规格:银色铝扣板600*600  密拼"]
[null,null,"4.做法详见：15ZJ001-页94-棚17"]
["44","011302001004","吊顶天棚","㎡","58.17"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第6页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.位置：国际会客厅、多功能会议室"]
[null,null,"2.龙骨材料种类、规格:1mm厚轻钢龙骨"]
[null,null,"3.面层材料品种、规格:白色微孔吸音铝板 1200*600"]
[null,null,"4.做法详见：15ZJ001-页94-棚17"]
["45","011304001001","灯带(槽)","㎡","42.95"]
[null,null,"1.3mm厚白色亚克力磨砂面板"]
[null,null,"2.市场选购"]
["46","011302003001","吊筒吊顶","㎡","85.01"]
[null,null,"1.位置：过道、休息区"]
[null,null,"2.龙骨材料种类、规格:0.6mm厚40*50@100mm"]
[null,null,"3.面层材料品种、规格:木纹色U型铝方通"]
[null,null,"4.做法详见：15ZJ001-页93-棚15"]
[null,null,"A.12 门窗工程"]
["47","010801004001","1.成品木纹色乙级木质防火门","㎡","6.30"]
[null,null,"2.尺寸：1500x2100"]
[null,null,"3.配自动闭门器"]
["48","010801001001","成品实木单开门","㎡","12.60"]
[null,null,"1.尺寸：1000x2100"]
["49","010801001002","成品实木双开门","㎡","8.82"]
[null,null,"1.尺寸：1400x2100"]
["50","011210003001","玻璃隔断","㎡","151.52"]
[null,null,"1.边框材料种类、规格:1.4mm厚木纹色铝合金"]
[null,null,"2.玻璃品种、规格、颜色:10mm厚钢化玻璃 内置铝百叶卷帘"]
[null,null,"3.成品定制"]
["51","010810002001","木窗帘盒","m","53.55"]
[null,null,"1.做法详见：11ZJ501-页23，选型6"]
["52","桂010811002001","门窗周边塞缝","m","124.00"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["53","011406003001","满刮腻子","㎡","294.03"]
[null,null,"1.部位：内墙面"]
[null,null,"2.做法详见：15ZJ001-页105-涂304"]
["54","011407001001","墙面喷（刷）涂料","㎡","294.03"]
[null,null,"1.部位：内墙面"]
[null,null,"2.做法详见：15ZJ001-页105-涂304"]
[null,null,"3.丝光内墙乳胶漆，一底二面，国产"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第7页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["55","011406003002","满刮腻子","㎡","22.98"]
[null,null,"1.部位：走廊天棚"]
[null,null,"2.做法详见：15ZJ001-页105-涂304"]
["56","011407002001","天棚喷（刷）涂料","㎡","22.98"]
[null,null,"1.部位：走廊天棚"]
[null,null,"2.做法详见：15ZJ001-页105-涂304"]
[null,null,"3.丝光内墙乳胶漆，一底二面，国产"]
[null,null,"A.14 其他装饰工程"]
["57","011505008001","卫生纸盒","个","5"]
["58","011505010001","镜面玻璃","㎡","3.58"]
[null,null,"1.5mm车边防雾银镜(含框)"]
["59","011505001001","洗漱台","㎡","3.19"]
[null,null,"1.20厚黑金砂花岗岩挡水板及台面"]
["60","011210005001","成品隔断","㎡","22.68"]
[null,null,"1.浅灰色防水贝特板隔断"]
[null,null,"2.包含五金配件"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
["61","桂011701004001","内装修脚手架","㎡","428.95"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第8页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑利  润"]
[null,null,"广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目-安装拆除"]
[null,null,"分部分项工程"]
[null,null,"旧管道、管件拆除"]
["62","011612001001","管道拆除","m","2.00"]
[null,null,"人工拆除 镀锌钢管 DN20"]
["63","011612001002","管道拆除","m","6.00"]
[null,null,"人工拆除 镀锌钢管 DN32"]
["64","011612001003","管道拆除","m","11.00"]
[null,null,"人工拆除 镀锌钢管 DN50"]
["65","011612001004","管道拆除","m","3.00"]
[null,null,"人工拆除 镀锌钢管 DN80"]
["66","011612001005","管道拆除","m","10.00"]
[null,null,"人工拆除 铸铁 DN50"]
["67","011612001006","管道拆除","m","20.00"]
[null,null,"人工拆除 铸铁管 DN100"]
["68","011612002001","蹲式大便器拆除","套","5"]
["69","011612002002","地漏拆除","个","2"]
["70","011612002003","法兰阀门拆除 DN80","个","1"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第9页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目-给排水改造"]
[null,null,"分部分项工程"]
[null,null,"B9 给排水、燃气工程"]
["71","031001006001","PP-R冷水管  De20","m","2.00"]
[null,null,"1.连接方式：热熔连接"]
[null,null,"2.含清洗、消毒"]
[null,null,"3.优于或相当于“联塑”品牌"]
["72","031001006002","PP-R冷水管  De25","m","3.00"]
[null,null,"1.连接方式：热熔连接"]
[null,null,"2.含清洗、消毒"]
[null,null,"3.优于或相当于“联塑”品牌"]
["73","031001006003","PP-R冷水管  De32","m","3.00"]
[null,null,"1.连接方式：热熔连接"]
[null,null,"2.含清洗、消毒"]
[null,null,"3.优于或相当于“联塑”品牌"]
["74","031001006004","PP-R冷水管  De40","m","4.00"]
[null,null,"1.连接方式：热熔连接"]
[null,null,"2.含清洗、消毒"]
[null,null,"3.优于或相当于“联塑”品牌"]
["75","031001006005","PP-R冷水管  De50","m","7.00"]
[null,null,"1.连接方式：热熔连接"]
[null,null,"2.含清洗、消毒"]
[null,null,"3.优于或相当于“联塑”品牌"]
["76","031001006006","PP-R冷水管  De65","m","3.00"]
[null,null,"1.连接方式：热熔连接"]
[null,null,"2.含清洗、消毒"]
[null,null,"3.优于或相当于“联塑”品牌"]
["77","031001006007","UPVC管  De50","m","10.00"]
[null,null,"1.连接方式：粘接连接"]
[null,null,"2.闭水试验"]
[null,null,"3.优于或相当于“联塑”品牌"]
["78","031001006008","UPVC管  De110","m","20.00"]
[null,null,"1.连接方式：粘接连接"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第10页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"2.闭水试验"]
[null,null,"3.优于或相当于“联塑”品牌"]
["79","031004007001","小便器","套","4"]
[null,null,"1.材质:陶瓷小便器"]
[null,null,"2.规格、类型:挂斗式"]
[null,null,"3.含五金配件"]
[null,null,"4.优于或相当于“九牧”品牌"]
["80","031004003001","洗脸盆","套","2"]
[null,null,"材质:陶瓷洗脸盆"]
[null,null,"含五金配件"]
[null,null,"4.优于或相当于“雨竹林”品牌"]
["81","031004006001","蹲式大便器","套","5"]
[null,null,"1.材质:陶瓷大便器"]
[null,null,"2.规格、类型:蹲式"]
[null,null,"3.含五金配件"]
[null,null,"4.优于或相当于“九牧”品牌"]
["82","031004004001","洗涤盆","套","1"]
[null,null,"1.材质:陶瓷拖把池"]
[null,null,"2.含五金配件"]
[null,null,"3.优于或相当于“关牧”品牌"]
["83","桂031004021001","地漏 DN50","个","2"]
[null,null,"1.优于或相当于“九牧”品牌"]
["84","031003002001","闸阀Z45T-10 DN65","个","1"]
[null,null,"1.优于或相当于“埃美柯”品牌"]
["85","030404033001","风扇","台","5"]
[null,null,"1.吸顶式"]
[null,null,"2.参照或优于“雷士”品牌"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第11页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目-电气改造"]
[null,null,"分部分项工程"]
[null,null,"B4 电气设备安装工程"]
["86","030404017001","楼层配电箱6AL","台","1"]
[null,null,"1.箱内元器件参照或优于“德力西”、“正泰”、“TCL”产品"]
["87","030404017002","动力配电箱 6AP","台","1"]
[null,null,"1.箱内元器件参照或优于“德力西”、“正泰”、“TCL”产品"]
["88","030404019001","扳式暗开关(单控) 单联单控开关","个","2"]
[null,null,"1.参照或优于“三雄极光”、“TCL”、“西蒙”产品"]
["89","030404019002","扳式暗开关(单控) 双联单控开关","个","1"]
[null,null,"1.参照或优于“三雄极光”、“TCL”、“西蒙”产品"]
["90","030404019003","扳式暗开关(单控) 三联单控开关","个","4"]
[null,null,"1.参照或优于“三雄极光”、“TCL”、“西蒙”产品"]
["91","030404035001","单相插座 暗装 10A 5孔","套","45"]
[null,null,"1.参照或优于“三雄极光”、“TCL”、“西蒙”产品"]
["92","030404035002","带防护盖防水防溅 单相暗插座10A 5孔","套","2"]
[null,null,"1.参照或优于“三雄极光”、“TCL”、“西蒙”产品"]
["93","030404035003","单相挂式空调插座 暗装 16A 5孔","套","6"]
[null,null,"1.参照或优于“三雄极光”、“TCL”、“西蒙”产品"]
["94","030411002001","金属线槽敷设 金属防火线槽 100x75mm","m","5.00"]
["95","030408001001","铜芯电力电缆敷设 截面ZR-YJV-4x25+1x16mm2","m","50.00"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第12页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.优于或相当于“银杉”、“桂林国际”品牌"]
["96","030408001002","铜芯电力电缆敷设 截面ZR-YJV-4x35+1x25mm2","m","50.00"]
[null,null,"1.优于或相当于“银杉”、“桂林国际”品牌"]
["97","030408003001","刚性阻燃电气保护管敷设 公称口径 PC16mm","m","700.00"]
["98","030408003002","刚性阻燃电气保护管敷设 公称口径 PC20mm","m","400.00"]
["99","030408003003","刚性阻燃电气保护管敷设 公称口径 PC25mm","m","500.00"]
["100","030411004001","管内穿线 铜芯交联聚乙烯绝缘低烟无卤阻燃耐火电线敷设 截面WDZN-BYJ-2.5m㎡","m","600.00"]
[null,null,"1.优于或相当于“银杉”、“桂林国际”品牌"]
["101","030411004002","管内穿线 铜芯交联聚乙烯绝缘低烟无卤阻燃电线敷设 截面WDZ-BYJ-2.5m㎡","m","1800.00"]
[null,null,"1.优于或相当于“银杉”、“桂林国际”品牌"]
["102","030411004003","铜芯交联聚乙烯绝缘低烟无卤阻燃电线敷设 截面WDZ-BYJ-4m㎡","m","1500.00"]
[null,null,"1.优于或相当于“银杉”、“桂林国际”品牌"]
["103","030411004004","铜芯交联聚乙烯绝缘低烟无卤阻燃电线敷设 截面WDZ-BYJ-10m㎡","m","100.00"]
[null,null,"1.优于或相当于“银杉”、“桂林国际”品牌"]
["104","030412004001","内藏组合式灯 LED灯带安装","m","30.00"]
[null,null,"1.参照或优于“雷士”、“三雄极光”品牌"]
["105","030412001001","4寸LED筒灯 嵌入式 安装  LED 1X9W,~220V","套","32"]
[null,null,"1.参照或优于“雷士”、“三雄极光”品牌"]
["106","030412001002","格栅双头筒灯 嵌入式安装  LED 2X9W,~220V","套","6"]
[null,null,"1.参照或优于“雷士”、“三雄极光”品牌"]
["107","030412001003","吸顶灯安装  1x12W LED,~220V","套","3"]
[null,null,"1.参照或优于“雷士”、“三雄极光”品牌"]
["108","030412001004","镜前灯安装  1x9W LED,~220V","套","2"]
[null,null,"1.参照或优于“雷士”、“三雄极光”品牌"]
["109","030412003001","自带蓄电池灯 疏散诱导 安全出口指示灯安装 吊管式安装 1*3W*220V*LED","套"]
[null,null,"1.参照或优于“三雄极光”、“劳士”品牌"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第13页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["110","030412003002","自带蓄电池方向诱导灯安装 墙壁式 1*3W*220V*LED","套","5"]
[null,null,"1.参照或优于“三雄极光”、“劳士”品牌"]
["111","030412003003","自带蓄电池应急灯安装 墙壁式 双头 2*8W*220V*LED","套","7"]
[null,null,"1.参照或优于“三雄极光”、“劳士”品牌"]
["112","030412001005","发光棚安装 发光棚内置LED光源安装 单管 1x22WLED，~220V","套","48"]
[null,null,"1.参照或优于“雷士”、“三雄极光”品牌"]
["113","030412004002","300x600 LED 格栅灯盘安装  单管 1x12W LED,~220V","套","6"]
[null,null,"1.参照或优于“雷士”、“三雄极光”品牌"]
["114","030412004003","300x900 LED 格栅灯盘安装  单管 LED 1X12W,~220V","套","12"]
[null,null,"1.参照或优于“雷士”、“三雄极光”品牌"]
["115","030412004004","600x1200 LED 格栅灯盘安装  双管 LED 2X22W,~220V","套","12"]
[null,null,"1.参照或优于“雷士”、“三雄极光”品牌"]
["116","030412004005","600x600 LED 格栅灯盘安装  双管 LED 2X12W,~220V","套","2"]
[null,null,"1.参照或优于“雷士”、“三雄极光”品牌"]
[null,null,"B5 建筑智能化系统设备安装工程"]
["117","030502003001","网络接线箱安装 明装 空箱 接线箱半周长(700mm以内)","个","1"]
[null,null,"1.箱内元器件参照或优于“德力西”、“正泰”、“TCL”产品"]
["118","030502004001","电视插座面板 暗装","个","2"]
[null,null,"1.参照或优于“德力西”、“正泰”品牌"]
["119","030502012001","网络信息电话插座面板 双口 暗装","个","7"]
[null,null,"1.参照或优于“德力西”、“正泰”品牌"]
["120","030502012002","网络信息插座面板 单口 暗装","个","13"]
[null,null,"1.参照或优于“德力西”、“正泰”品牌"]
["121","030411002002","金属线槽敷设 金属防火线槽 100x50mm","m","50.00"]
["122","030502005001","穿放、布放电话线 HPV-2*2*0.5 管内穿放","m","340.00"]
[null,null,"1.参照或优于“正泰”品牌"]
["123","030502007001","2芯光纤管内穿放","m","860.00"]
[null,null,"1.优于或相当于“银杉”、“桂林国际”品牌"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西水利电力职业技术学院（长堽校区）国际交流学术中心建设项目 ",{"$nulls":5},"第14页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["124","030505005001","视频同轴电缆 管内穿放视频同轴电缆 SYV-75-5","m","80.00"]
[null,null,"1.优于或相当于“银杉”、“桂林国际”品牌"]
["125","030411001001","刚性阻燃电气保护管敷设 公称口径 PC20mm","m","300.00"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":7}
[{"$nulls":7},"表-08"]