{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":129,"n_cols":8,"rows_kept":129,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[5,0,5,2],[22,0,22,5],[22,6,22,7],[23,0,25,0],[23,1,25,1],[23,2,25,2],[23,3,25,3],[23,4,25,4],[23,5,23,7],[24,5,25,5],[24,6,25,6],[26,0,26,2],[43,0,43,5],[43,6,43,7],[44,0,46,0],[44,1,46,1],[44,2,46,2],[44,3,46,3],[44,4,46,4],[44,5,44,7],[45,5,46,5],[45,6,46,6],[48,0,48,2],[65,0,65,5],[65,6,65,7],[66,0,68,0],[66,1,68,1],[66,2,68,2],[66,3,68,3],[66,4,68,4],[66,5,66,7],[67,5,68,5],[67,6,68,6],[69,0,69,2],[87,0,87,5],[87,6,87,7],[88,0,90,0],[88,1,90,1],[88,2,90,2],[88,3,90,3],[88,4,90,4],[88,5,88,7],[89,5,90,5],[89,6,90,6],[91,0,91,2],[108,0,108,5],[108,6,108,7],[109,0,111,0],[109,1,111,1],[109,2,111,2],[109,3,111,3],[109,4,111,4],[109,5,109,7],[110,5,111,5],[110,6,111,6],[112,0,112,2]]}
["长堽校区办公楼及实训楼天面防水层、隔热板翻新工程                                          分部分项工程项目清单"]
["工程名称:长堽校区办公楼及实训楼天面防水层、隔热板翻新工程",{"$nulls":5},"第1页 共6页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["    办公楼天面防水层及隔热板翻新"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["1","011607001001","屋面混凝土隔热板及砖墩拆除","㎡","377.65"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
["2","011607002001","天面防水层拆除","㎡","441.75"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
[null,null,"A.7 屋面及防水工程"]
["3","010902001001","屋面卷材防水","㎡","441.75"]
[null,null,"3厚SBS防水卷材，热熔铺贴，反边200mm；"]
[null,null,"刷基层处理剂一遍；"]
[null,null,"20厚1:2.5水泥砂浆找平层"]
[null,null,"原有屋面板，表面清扫干净"]
[null,null,"A.8 保温、隔热、防腐工程"]
["4","011001001001","保温隔热屋面","㎡","377.65"]
[null,null,"M5砂浆砌砖两皮，双向中距500mm或顺排水方向，部分利用旧砖"]
[null,null,"500*500mmC20砼隔热板"]
["工程名称:长堽校区办公楼及实训楼天面防水层、隔热板翻新工程",{"$nulls":5},"第2页 共6页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["    电力实训楼西侧天面防水层及隔热板翻新"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["5","011607001001","屋面混凝土隔热板及砖墩拆除","㎡","510.00"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
["6","011607002001","天面防水层拆除","㎡","610.00"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
[null,null,"A.7 屋面及防水工程"]
["7","010902001001","屋面卷材防水","㎡","610.00"]
[null,null,"3厚SBS防水卷材，热熔铺贴，反边200mm；"]
[null,null,"刷基层处理剂一遍；"]
[null,null,"20厚1:2.5水泥砂浆找平层"]
[null,null,"原有屋面板，表面清扫干净"]
[null,null,"A.8 保温、隔热、防腐工程"]
["8","011001001001","保温隔热屋面","㎡","510.00"]
[null,null,"M5砂浆砌砖两皮，双向中距500mm或顺排水方向，部分利用旧砖"]
[null,null,"500*500mmC20砼隔热板"]
["工程名称:长堽校区办公楼及实训楼天面防水层、隔热板翻新工程",{"$nulls":5},"第3页 共6页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[]
["   经管实训楼天面防水层及隔热板翻新"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["9","011607001001","屋面混凝土隔热板及砖墩拆除","㎡","665.50"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
["10","011607002001","天面防水层拆除","㎡","740.00"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
[null,null,"A.7 屋面及防水工程"]
["11","010902001001","屋面卷材防水","㎡","740.00"]
[null,null,"3厚SBS防水卷材，热熔铺贴，反边200mm；"]
[null,null,"刷基层处理剂一遍；"]
[null,null,"20厚1:2.5水泥砂浆找平层"]
[null,null,"原有屋面板，表面清扫干净"]
[null,null,"A.8 保温、隔热、防腐工程"]
["12","011001001001","保温隔热屋面","㎡","665.50"]
[null,null,"M5砂浆砌砖两皮，双向中距500mm或顺排水方向，部分利用旧砖"]
[null,null,"500*500mmC20砼隔热板"]
["工程名称:长堽校区办公楼及实训楼天面防水层、隔热板翻新工程",{"$nulls":5},"第4页 共6页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["    信息楼天面防水层及隔热板翻新"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["13","011607001001","屋面混凝土隔热板及砖墩拆除","㎡","195.30"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
["14","011607002001","天面防水层拆除","㎡","205.80"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
[null,null,"A.7 屋面及防水工程"]
["15","010902001001","屋面卷材防水","㎡","205.80"]
[null,null,"3厚SBS防水卷材，热熔铺贴，反边200mm；"]
[null,null,"刷基层处理剂一遍；"]
[null,null,"20厚1:2.5水泥砂浆找平层"]
[null,null,"原有屋面板，表面清扫干净"]
[null,null,"A.8 保温、隔热、防腐工程"]
["16","011001001001","保温隔热屋面","㎡","205.80"]
[null,null,"M5砂浆砌砖两皮，双向中距500mm或顺排水方向，部分利用旧砖"]
[null,null,"500*500mmC20砼隔热板"]
[]
["工程名称:长堽校区办公楼及实训楼天面防水层、隔热板翻新工程",{"$nulls":5},"第5页 共6页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["   综合楼天面防水层及隔热板翻新"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["17","011607001001","屋面混凝土隔热板及砖墩拆除","㎡","439.20"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
["18","011607002001","天面防水层拆除","㎡","439.20"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
[null,null,"A.7 屋面及防水工程"]
["19","010902001001","屋面卷材防水","㎡","439.20"]
[null,null,"3厚SBS防水卷材，热熔铺贴，反边200mm；"]
[null,null,"刷基层处理剂一遍；"]
[null,null,"20厚1:2.5水泥砂浆找平层"]
[null,null,"原有屋面板，表面清扫干净"]
[null,null,"A.8 保温、隔热、防腐工程"]
["20","011001001001","保温隔热屋面","㎡","439.20"]
[null,null,"M5砂浆砌砖两皮，双向中距500mm或顺排水方向，部分利用旧砖"]
[null,null,"500*500mmC20砼隔热板"]
["工程名称:水电学院长堽校区各实训楼及办公楼天面防水层及隔热板翻新 ",{"$nulls":5},"第6页 共6页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["   部分楼宇天面防水层及隔热板局部翻修"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["21","011607001001","屋面混凝土隔热板及砖墩拆除","㎡","237.52"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
["22","011607002001","天面防水层拆除","㎡","256.20"]
[null,null,"含人工拆除及搬运下地至指定地点堆放"]
[null,null,"A.7 屋面及防水工程"]
["23","010902001001","屋面卷材防水","㎡","256.20"]
[null,null,"3厚SBS防水卷材，热熔铺贴，反边200mm；"]
[null,null,"刷基层处理剂一遍；"]
[null,null,"20厚1:2.5水泥砂浆找平层"]
[null,null,"原有屋面板，表面清扫干净"]
[null,null,"A.8 保温、隔热、防腐工程"]
["24","011001001001","保温隔热屋面","㎡","237.52"]
[null,null,"M5砂浆砌砖两皮，双向中距500mm或顺排水方向，部分利用旧砖"]
[null,null,"500*500mmC20砼隔热板"]