{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1 "],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1 ","index":0,"n_rows":8,"n_cols":7,"rows_kept":8,"merged":[[0,0,0,6],[7,0,7,4]]}
["里建校区馨园学生宿舍漏水维修工程量清单"]
["序号","单项名称","工程量","单位","单价（元）","合计（元）","特征及描述"]
[1,"宿舍房间内部漏水维修",{"v":32,"d":"32.00"},"间",null,null,"1、在上一楼层对应宿舍卫生间拆除地板砖后安装二次排水；2、对漏水房间进行保护后对天面漏水处进行打钉高压注浆处理；3、对墙面、天棚面施工污染部位用腻子刮白；4、上、下楼层房间整体恢复并清理垃圾。"]
[2,"宿舍阳台漏水维修",{"v":36,"d":"36.00"},"间",null,null,"施工工艺及做法同上"]
[3,"宿舍卫生间排水管口堵漏",{"v":450,"d":"450.00"},"个",null,null,"使用堵漏王对漏水管口上部进行堵漏并在下部也进行堵漏处理；堵漏完毕清理恢复"]
[4]
[]
["合计："]